## Detail of Tender
| DESCRIPTION | QTY | UNIT | UNIT PRICE | TOTAL
COST EC$
(1) | PRELIMINARIES:
(a) | Provision of the necessary working drawings
shop drawings and equipment details.
(b) | Provision of the required coordinating
effort with other trades and equipment
suppliers
(c) | Complete system testing and adjusting.
(d) | Provision of as built drawings, manuals and
maintenance instructions.
(e) | Insurance Bond
(f) | Application for and coordination of inspections
by local Government inspectorate
TOTAL ITEM (1)
(2) | MAIN INCOMING POWER:
(a) | 100mm PVC conduit
(b) | 100mm PVC 900 LR bends
(c) | Conduit Accessories
(d) | 4 Core 70mm XLPE/SWA/PVC
(e) | 25mm PVC earth cable
(f) | Cable Accessories
(e) | Grounding Complete
(f) | Sundries
TOTAL ITEM (2)
(3) | CIRCUIT BREAKER PANELS &
BREAKERS:
400/230V:
(a) | Panel "M" Complete
(b) | Panel "MA" Complete
(c) | Sundries
208/120V:
(a) | Panel "GP" Complete
(b) | Panel "GP2" Complete
(c) | Panel "GP3" Complete
(d) | Sundries
Circuit Breaker For Panel "MDP":
(a) | Merlin Gerin Compact NS160N breaker with
a 125 TMD 3 poles 3d
(b) | Sundries
TOTAL ITEM (3)
4 | TRANSFORMERS:
(a) | 3Ø 25KVA Transformer
(b) | Sundries
TOTAL ITEM (4)
(5) | FEEDER CABLES & CONDUIT :
(a) | 100mm PVC conduit
(b) | 75mm PVC conduit
(c) | 50mm PVC conduit
(d) | 32mm PVC conduit
(e) | 900 PVC bend
(f) | Conduit Accessories
(g) | 4 core 25mm XLPE Cable
(h) | 4 core 16mm XLPE Cable
(i) | 4 core 10mm XLPE Cable
(j) | 4 core 6mm XLPE Cable
(k) | 3 core 25mm XLPE Cable
(l) | 3 core 16mm XLPE cable
(m) | Draw Cable
(o) | Cable Accessories
(p) | Sundries
TOTAL ITEM (5)
(6) | BRANCH CIRCUIT WIRING:
(a) | 20mm PVC conduit
(b) | 25mm PVC Conduit
(c) | 50mm PVC Conduit
(d) | 38mm PVC Conduit
(e) | Conduit Accessories
(f) | Boxes
(g) | 2.5mm PVC Cable
(h) | 4.0mm PVC Cable
(i) | 6.0mm PVC Cable
(6) | BRANCH CIRCUIT WIRING CONT'D:
(j) | Draw cable
(k) | Cable Accessories
(l) | Sundries
TOTAL ITEM (6)
(7) | CABLE TRAY & CABLE BASKET
(a) | 4"(W) x 2"(D) cable basket
(b) | 8" (W) x 2" (D) cable basket
(c) | Cable basket accessories
(d) | Uni-strut
(e) | General mounting systems
(f) | Bonding of cable basket & ladder tray
(g) | Sundries
TOTAL ITEMS (7)
(8) | WIRING DEVICES:
(a) | 30 ATP Isolators (all)
(b) | 60 ADP Isolators (all)
(c) | 30 ADP Isolators (all)
(d) | Switches (all)
(e) | Photocells (all)
(f) | Timeclocks (all)
(g) | Standard 125V Duplex Receptacles (all)
(h) | Standard 125V GFCI Receptacles (all)
(i) | Weatherproof 125V GFCI Receptacles (all)
(j) | Standard 125V Single Receptacles (all)
(k) | Standard 250V Duplex Receptacles (all)
(l) | Standard 250V Single Receptacles (all)
(m) | Twist-lock 125V Receptacles (all)
(8) | WIRING DEVICES CONT'D:
(n) | Twist-lock 250V Receptacles (all)
(o) | 4 x 4 Adaptable Boxes
(p) | Gangable Steel Boxes
(q) | Octagon boxes
(r) | Hand Dryers
(s) | Sundries
TOTAL ITEM (8)
(9) | LIGHTING INSTALLATION:
Supply & Install Fixtures:
(a) | TYPE "B1" complete
(b) | TYPE "B1 EM" complete
(c) | TYPE "C1" complete
(d) | TYPE "C1 EM" complete
(d) | TYPE "D1" complete
(e) | TYPE "D2" complete
(f) | TYPE "D3" complete
(g) | TYPE "E1" complete
(h) | TYPE "E2" complete
(i) | TYPE "W1" complete
(j) | TYPE "W2" complete
(j) | TYPE "W3" complete
(k) | TYPE "EMA" complete
(l) | EXIT Signs runing man without arrow
(m) | EXIT Signs runing man with arrow
(n) | Sundries
TOTAL ITEM (9)
(10) | TELEPHONE & DATA
INFRASTRUCTURE:
(a) | 12 x 12 draw box
(b) | 6 x 6 draw box
(c) | 4 x 4 box
(d) | 2 x 4 box
(e) | 3 x 6 Boxes
(f) | 75mm PVC conduit (schedule 40)
(g) | 75mm PVC 90 LR bend
(h) | 50mm PVC condit
(h) | 25mm PVC condit
(i) | Fabric Inner duct
(j) | Draw cable
(k) | Conduit Accessories
(l) | Grounding cables (see section 6)
(m) | Sundries
TOTAL ITEM (10)
(11) | FIRE ALARM SYSTEM
INFRASTRUCTURE:
(a) | 12 x 12 draw box
(b) | 6 x 6 draw box
(c) | 4 x 4 box
(d) | 2 x 4 box
(e) | Octagon
(11) | FIRE ALARM SYSTEM
INFRASTRUCTURE CONT'D:
(f) | 25mm PVC Conduit
(g) | 3/4" EMT Conduit
(h) | Conduit Accessories
(i) | Draw cable/string
(j) | Painting of fire alarm conduit - red
(k) | Sundries
TOTAL ITEM (11)
(12) | CCTV , SECURITY & ACCESS
CONTROL INFRASTRUCTURE:
(a) | 12 x 12 draw box
(b) | 6 x 6 draw box
(c) | 4 x 4 box
(d) | 2 x 4 box
(e) | Octagon
(f) | 25mm PVC Conduit
(g) | 3/4" EMT Conduit
(h) | Conduit Accessories
(i) | Draw cable/string
(j) | Painting of fire alarm conduit - red
(k) | Sundries
TOTAL ITEM (12)
(13) | UPS SYSTEM:
(a) | 8 KVA UPS
(b) | Bypass Switching System
(c) | Sundries
TOTAL ITEM (13)
(14) | TVSS PROTECTION SYSTEM COMPLETE
(a) | TVSS #1 | 1
(b) | TVSS #2 | 1
(c) | Sundries
TOTAL ITEM (14)
(15) | LIGHTNING PROTECTION
(a) | Air Terminals (all)
(b) | 3 1/2" Metal Pipe
(c) | Lightning protection cable
(d) | Sundries
TOTAL ITEM (15)
(16) | FIRE PROOFING SYSTEMS
(a) | Intumescent HILTI CP-620 Fire foam
(b) | Wiremold FSPCC4758
(c) | Sundries
TOTAL ITEM (16)
(17) | ITEMS SPECIFIED OR INDICATED
ON DRAWING BUT NOT MENTIONED
IN THE DETAIL OF TENDER.
(Itemize separately where more than $500)
(a)
(b)
(c)
TOTAL ITEM (17)
(18) | TOTAL ELECTRICAL WORKS
(ITEMS 1 & 17)[$EC]
Note: Failure to complete this form may
result in the disqualification of your tender.
cost of item 18 in $US= _$_____________