## D.O.T sums
SECURITY & FIRE ALARM SPECIFICATION
FOR
JOHN A. OSBORNE AIRPORT ATCT
GERALDS, MONTSERRAT, W.I
ITEM | DESCRIPTION |  |  | DRAFT | QTY | UNIT | UNIT PRICE | TOTAL PRICE EC$
1 | PRELIMINARIES
a) | Provision of the necessary working drawings.
shop drawings and equipment details.
b) | Provision of the required coordinating effort
with other trades.
c) | Complete system testing and adjusting.
d) | Provision of asbuilt drawings, manuals and
maintenance instructions.
TOTAL ITEM (1)
2 | CLOSED CIRCUIT TV SYSTEM:
a) | Indoor Cameras
b) | Flat Panel Monitors
c) | Outdoor IR cameras in housing
d) | Power Supplies
e) | Siamese coaxial cable
f) | DVR System
g) | Connectors & Accessories
h) | Cable for CCTV
i) | CCTV power
j) | CCTV controller
k) | Installation
l) | Sundries
TOTAL ITEM (2)
ITEM | DESCRIPTION |  |  | DRAFT | QTY | UNIT | UNIT PRICE | TOTAL PRICE EC$
3 | ACCESS CONTROL SYSTEM:
a) | Magnetic Locks
b) | Keypads/Proximity Readers
c) | Power Supplies
d) | Exit Buttons
e) | Control Panel
f) | 2 Core 16 AWG Cable
g) | 6 Core Sheilded Cable
h) | Batteries & Accessories
i) | Software Package
j) | Surge Protection Devices
k) | Installation
l) | proximity cards |  |  |  | 50 | No.
m | Sundries
TOTAL ITEM (3)
4 | FIRE ALARM SYSTEM:
a) | FA Control Panel
b) | Annunciators
c) | Strobes/horns
d) | Smoke Detectors
e) | Heat Detectors
f) | Pull Stations
g) | Shielded Data cable
h) | 1.5 mm Fire rated cable
i) | Batteries & Accessories
j) | Surge Protection Devices
k) | Installation
l) | Sundries
TOTAL ITEM (4)
ITEM | DESCRIPTION |  |  | DRAFT | QTY | UNIT | UNIT PRICE | TOTAL PRICE EC$
5 | INTERCOM SYSTEM:
a) | Indoor Video Stations
b) | 4-Way Video Distributors
c) | Power Supplies
d) | Bus Control Adaptors
e) | Video Bus Control Adaptors
f) | Single Entry Door Unit
g) | Surge Protection Devices
h) | Installation
i) | Sundries
TOTAL ITEM (5)
6 | SECURITY ALARM SYSTEM:
a) | Main Control Panel
b) | Key-Pads
c) | Motion Detectors
d) | Magnetic Contacts
e) | Indoor Sirens
f) | Outdoor Siren w/ Strobes
g) | Receiver Units
h) | Back-up Battery & Accessories
i) | Transformers
j) | Cables & Accessories
k) | Surge Protection Devices
l) | Installation
m) | Sundries
TOTAL ITEM (6)
ITEM | DESCRIPTION |  |  | DRAFT | QTY | UNIT | UNIT PRICE | TOTAL PRICE EC$
7 | ITEMS SPECIFIED OR INDICATED ON DRAWINGS
BUT NOT MENTIONED IN THE DETAIL OF
TENDER
List items over $500 separately. Use separate
sheet if necessary
a)
b)
c)
d)
e)
TOTAL ITEM (7)
8 | SUB-TOTAL ITEMS (1 TO 7)
9 | Main Contractor's Discount (1/39) of
Item (8)
10 | PROVISIONAL SUM FOR CONTINGENCIES
a) | CONTINGENCY | [6 empty] | 12000
| TOTAL ITEM (10) | [6 empty] | 12000
11 | SUB-TOTAL ITEMS (8,9 & 10)
12 | 17.5% VAT ON ITEM (11)
13 |  | TOTAL SECURITY SYSTEMS
(ITEMS 11& 12)
Note: (1) Failure to complete this form may
result in the disqualification of your tender

## AS SUBMITTED
LEVERAGE CONSULTING ENGINEERS INC.
CARLISLE LARBORTIES LTD
SECURITY AND FIRE ALARM INSTALLATION
TABLE 1 - AS SUBMITTED
ITEMS | DESCRIPTION
1 | PRELIMINARIES
2 | CLOSED CIRCUIT TV SYSTEM
3 | ACCESS CONTROL SYSTEM
4 | FIRE ALARM SYSTEM
5 | INTERCOM SYSTEM
6 | SECURITY ALARM SYSTEM
7 | ITEMS SPECIFIED OR INDICATED ON DRRAWING BUT NOT MENTIONED IN THE DETAIL OF TENDER
8 | SUB-TOTAL ITEM (1 TO 7)
9 | MAIN CONTRACTOR'S DISCOUNT (1/39) OF ITEM 8
10 | PROVISIONAL SUM FOR CONTINGENCIES
11 | SUB-TOTAL ITEM (8,9 & 10)
12 | 17.5% VAT ON ITEM (11)
13 | TOTAL SECURITY SYSTEMS (ITEMS 11 & 12)

## AS CORRECTED
LEVERAGE CONSULTING ENGINEERS INC.
CARLISLE LABORATORIES LTD
SECURITY AND FIRE ALARM INSTALLATION
TABLE 2- AS CORRECTED
ITEMS | DESCRIPTION
1 | PRELIMINARIES
2 | CLOSED CIRCUIT TV SYSTEM
3 | ACCESS CONTROL SYSTEM
4 | FIRE ALARM SYSTEM
5 | INTERCOM SYSTEM
6 | SECURITY ALARM SYSTEM
7 | ITEMS SPECIFIED OR INDICATED ON DRRAWING BUT NOT MENTIONED IN THE DETAIL OF TENDER
8 | SUB-TOTAL ITEM (1 TO 7)
9 | MAIN CONTRACTOR'S DISCOUNT (1/39) OF ITEM 8
10 | PROVISIONAL SUM FOR CONTINGENCIES
11 | SUB-TOTAL ITEM (8,9 & 10)
12 | 17.5% VAT ON ITEM (11)
13 | TOTAL SECURITY SYSTEMS (ITEMS 11 & 12)

## Detail of Tender
SECURITY, CCTV & FIRE ALARM SPECIFICATION
FOR
AIR TRAFFIC CONTROL TOWER
JOHN A. OSBORNE AIRPORT
GERALDS, MONTSERRAT, W.I
ITEM | DESCRIPTION |  | QTY | UNIT | UNIT PRICE | TOTAL PRICE EC$
1 | PRELIMINARIES
a) | Provision of the necessary working drawings.
shop drawings and equipment details.
b) | Provision of the required coordinating effort
with other trades.
c) | Complete system testing and adjusting.
d) | Provision of asbuilt drawings, manuals and
maintenance instructions.
TOTAL ITEM (1)
2 | CLOSED CIRCUIT TV SYSTEM:
a) | Indoor Cameras
b) | Flat Panel Monitors
c) | Outdoor IR cameras in housing
d) | Power Supplies
e) | Siamese coaxial cable
f) | DVR System
g) | Connectors & Accessories
h) | Cable for CCTV
i) | CCTV power
j) | CCTV controller
k) | Installation
l) | Sundries
TOTAL ITEM (2)
ITEM | DESCRIPTION |  | QTY | UNIT | UNIT PRICE | TOTAL PRICE EC$
3 | ACCESS CONTROL SYSTEM:
a) | Magnetic Locks
b) | Electric Strikes
c) | Keypads/Proximity Readers
d) | Power Supplies
e) | Exit Buttons
f) | Control Panel
g) | 2 Core 16 AWG Cable
h) | 6 Core Sheilded Cable
i) | Batteries & Accessories
j) | Software Package
k) | Surge Protection Devices
l) | Installation
m) | Proximity cards |  | 50 | No.
n) | Sundries
TOTAL ITEM (3)
4 | FIRE ALARM SYSTEM:
a) | FA Control Panel
b) | Annunciators
c) | Strobes/horns
d) | Smoke Detectors
e) | Heat Detectors
f) | Pull Stations
g) | Shielded Data cable
h) | 1.5 mm Fire rated cable
i) | Batteries & Accessories
j) | Surge Protection Devices
k) | Installation
l) | Sundries
TOTAL ITEM (4)
ITEM | DESCRIPTION |  | QTY | UNIT | UNIT PRICE | TOTAL PRICE EC$
5 | INTERCOM SYSTEM:
a) | Indoor Video Stations
b) | 4-Way Video Distributors
c) | Power Supplies
d) | Bus Control Adaptors
e) | Video Bus Control Adaptors
f) | Single Entry Door Unit
g) | Surge Protection Devices
h) | Installation
i) | Sundries
TOTAL ITEM (5)
6 | SECURITY ALARM SYSTEM:
a) | Main Control Panel
b) | Key-Pads
c) | Motion Detectors
d) | Magnetic Contacts
e) | Indoor Sirens
f) | Outdoor Siren w/ Strobes
g) | Receiver Units
h) | Back-up Battery & Accessories
i) | Transformers
j) | Cables & Accessories
k) | Surge Protection Devices
l) | Installation
m) | Sundries
TOTAL ITEM (6)
ITEM | DESCRIPTION |  | QTY | UNIT | UNIT PRICE | TOTAL PRICE EC$
7 | ITEMS SPECIFIED OR INDICATED ON DRAWINGS
BUT NOT MENTIONED IN THE DETAIL OF
TENDER
List items over $500 separately. Use separate
sheet if necessary
a)
b)
c)
d)
e)
TOTAL ITEM (7)
8 |  | TOTAL SECURITY SYSTEMS
(ITEMS 1 & 7)
Note: (1) Failure to complete this form may
result in the disqualification of your tender
cost of item 10 in $US= _$_____________